## MultiCategory_Electrical
Element ID | Category | Mark | Family | Type | MasterFormat | IfcGUID | Semantic Class | Panel Name | Supply From | Notes
822488 | Fire Alarm Devices | CDS | 284911-CO2 | CO2 Detector Ceiling | 28 49 11 Electronic Personal Safety Detection Systems | 2cxngLHB98Vxklh_sJIha1 | ConcentrationSensor
459977 | Fire Alarm Devices | COS | 284631-CO | Carbon Monoxide Detector Ceiling | 28 46 31 Fire-Alarm Initiating Devices | 3KwmMWuhD83gQOxHjYSXZ7 | ConcentrationSensor
1026331 | Electrical Equipment | DB-1 | Panelboard Distribution V03 | 480V 600A | 26 24 16 Panelboards | 3ZNVAkhnf3afkiM5Y_MuKL | Breaker_Panel | 4S1 | 1D1 | 1D1 only exists in the RDF since it's part of the full high-rise bldg
1030823 | Electrical Equipment | DB-2 | Panelboard Distribution V03 | 208V 1200A | 26 24 16 Panelboards | 36y4w7kwH6LBmyJI0kjZ9n | Breaker_Panel | 2D1 | EM-104
428352 | Electrical Equipment | DB-3 | 262416-PANEL | 120/208V_1P_125A_42 Circuits | 26 24 16 Panelboards | 3KwmMWuhD83gQOxHjYSvLE | Breaker_Panel | RE-1 | 2D1
872430 | Electrical Equipment | DDC | 260900-BAS | Default | 26 09 00 Instrumentation and Control for Electrical Systems | 11qcwxhdn5KQiddvUWxwIf | BACnet_Controller | BAS | -
476469 | Electrical Fixtures | DDR-1 | 262726-RECEPT | 120V Special Purpose Outlet - Washer | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQv5 | ElectricityOutlet
476602 | Electrical Fixtures | DDR-2 | 262726-RECEPT | 240V Special Purpose Outlet - Dryer (2 Poles) | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQxA | ElectricityOutlet
477108 | Electrical Fixtures | DDR-3 | 262726-RECEPT | 240V Special Purpose Outlet - Oven (2 Poles) | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQp4 | ElectricityOutlet
477740 | Electrical Fixtures | DDR-4 | 262726-RECEPT | 120V Special Purpose Outlet - Microwave | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQ5S | ElectricityOutlet
441149 | Lighting Fixtures | DL-1 | 265100-LIGHT-CAN | 6" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwSp | Luminaire
443943 | Lighting Fixtures | DL-10 | 265100-LIGHT-CAN | 6" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSzef | Luminaire
441150 | Lighting Fixtures | DL-2 | 265100-LIGHT-CAN | 6" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwSm | Luminaire
441151 | Lighting Fixtures | DL-3 | 265100-LIGHT-CAN | 6" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwSn | Luminaire
441152 | Lighting Fixtures | DL-4 | 265100-LIGHT-CAN | 6" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwTE | Luminaire
441153 | Lighting Fixtures | DL-5 | 265100-LIGHT-CAN | 6" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwTF | Luminaire
441154 | Lighting Fixtures | DL-6 | 265100-LIGHT-CAN | 6" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwTC | Luminaire
441155 | Lighting Fixtures | DL-7 | 265100-LIGHT-CAN | 6" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwTD | Luminaire
441156 | Lighting Fixtures | DL-8 | 265100-LIGHT-CAN | 6" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwTA | Luminaire
443942 | Lighting Fixtures | DL-9 | 265100-LIGHT-CAN | 6" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSzee | Luminaire
477846 | Electrical Fixtures | DXO-1 | 262726-RECEPT | 120V Duplex | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQ7c | ElectricityOutlet
477893 | Electrical Fixtures | DXO-2 | 262726-RECEPT | 120V Duplex | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQ6r | ElectricityOutlet
478205 | Electrical Fixtures | DXO-3 | 262726-RECEPT | 120V Duplex | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQ2D | ElectricityOutlet
478360 | Electrical Fixtures | DXO-4 | 262726-RECEPT | 120V Duplex | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQVe | ElectricityOutlet
478400 | Electrical Fixtures | DXO-5 | 262726-RECEPT | 120V Duplex | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQUm | ElectricityOutlet
478500 | Electrical Fixtures | DXO-6 | 262726-RECEPT | 120V Duplex | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQPK | ElectricityOutlet
808223 | Electrical Fixtures | DXO-7 | 262726-RECEPT | 120V Duplex GFCI Above Counter | 26 27 26 Wiring Devices | 2cxngLHB98Vxklh_sJIc36 | ElectricityOutlet
808280 | Electrical Fixtures | DXO-8 | 262726-RECEPT | 120V Duplex GFCI Above Counter | 26 27 26 Wiring Devices | 2cxngLHB98Vxklh_sJIc21 | ElectricityOutlet
476276 | Electrical Fixtures | DXO-9 | 262726-RECEPT | 120V Duplex GFCI Above Counter | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQy4 | ElectricityOutlet
1039400 | Electrical Equipment | EM-104 | Meter V01 | Meter V01 | 26 16 00 Medium-Voltage Metering | 36y4w7kwH6LBmyJI0kjbJ_ | Electrical_Meter | EM-104 | 2T1
925565 | Electrical Equipment | FACP-2 | 284621-FirePanel | Default | 28 46 21 Fire-Alarm Control Units and Related Equipment | 1utI29$4jBkeclHoky8Vuq | Fire_Safety_Equipment | FirePanel-2 | FirePanel-1 | FirePanel-1 only exists in the RDF since it's part of the full high-rise bldg
459948 | Fire Alarm Devices | FAS-1 | 284641-Horn Fire | Horn Ceiling | 28 46 41 Fire-Alarm Notification Appliances | 3KwmMWuhD83gQOxHjYSXYY | Alarm
453227 | Fire Alarm Devices | FAS-2 | 284641-Strobe | Strobe Ceiling | 28 46 41 Fire-Alarm Notification Appliances | 3KwmMWuhD83gQOxHjYS$Pb | Alarm
490193 | Electrical Fixtures | JB-1 | 262726-JBOX | JBox | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjP6X | Electrical_Equipment
509782 | Electrical Fixtures | JB-2 | 262726-JBOX | JBox | 26 27 26 Wiring Devices | 3Ul2YL1er8lR0EzC1PLJz4 | Electrical_Equipment
507341 | Lighting Devices | LSW-1 | 260923-SWITCH | 120V Single Pole | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm78Uc | Switch
507925 | Lighting Devices | LSW-2 | 260923-SWITCH | 120V Single Pole | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm7Ff_ | Switch
508466 | Lighting Devices | LSW-3 | 260923-SWITCH | 120V Single Pole | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm7FXP | Switch
508477 | Lighting Devices | LSW-4 | 260923-SWITCH | 120V Single Pole | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm7FXM | Switch
509052 | Lighting Devices | LSW-5 | 260923-SWITCH | 120V Single Pole | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm7FuN | Switch
509071 | Lighting Devices | LSW-6 | 260923-SWITCH | 120V Single Pole | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm7Fxa | Switch
446041 | Lighting Fixtures | LT-1 | 265100-LIGHT-LED | 24"x24" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSz9N | Luminaire
446042 | Lighting Fixtures | LT-2 | 265100-LIGHT-LED | 24"x24" | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSz9K | Luminaire
799007 | Lighting Devices | MOS-1 | 283513-OCC | Occupancy Sensor | 28 35 13 Personnel Tracking Systems | 185vMzHvP61ud3uvM9im6t | OccupancySensor
806248 | Lighting Devices | MOS-2 | 283513-OCC | Occupancy Sensor | 28 35 13 Personnel Tracking Systems | 3ZkKWovCT6Ih0c$0XKttx5 | OccupancySensor
806264 | Lighting Devices | MOS-3 | 283513-OCC | Occupancy Sensor | 28 35 13 Personnel Tracking Systems | 3ZkKWovCT6Ih0c$0XKttxL | OccupancySensor
806274 | Lighting Devices | MOS-4 | 283513-OCC | Occupancy Sensor | 28 35 13 Personnel Tracking Systems | 3ZkKWovCT6Ih0c$0XKttul | OccupancySensor
806286 | Lighting Devices | MOS-5 | 283513-OCC | Occupancy Sensor | 28 35 13 Personnel Tracking Systems | 3ZkKWovCT6Ih0c$0XKttuZ | OccupancySensor
806296 | Lighting Devices | MOS-6 | 283513-OCC | Occupancy Sensor | 28 35 13 Personnel Tracking Systems | 3ZkKWovCT6Ih0c$0XKttur | OccupancySensor
459967 | Fire Alarm Devices | SD | 284631-Smoke Detector | Smoke Detector | 28 46 31 Fire-Alarm Initiating Devices | 3KwmMWuhD83gQOxHjYSXYn | Smoke_Detector
928758 | Data Devices | TSTAT-1 | 230913-Thermostat | 230913-Thermostat | 23 09 13 Instrumentation and Control Devices for HVAC | 1KJS1pys5FI8Hs5g99Xqkn | Thermostat
928765 | Data Devices | TSTAT-2 | 230913-Thermostat | 230913-Thermostat | 23 09 13 Instrumentation and Control Devices for HVAC | 1KJS1pys5FI8Hs5g99Xqkw | Thermostat
1023470 | Electrical Equipment | TXMR | Transformer Dry-Type Distribution | 300 kVA | 26 12 16 Dry-Type, Medium-Voltage Transformers | 3ZNVAkhnf3afkiM5Y_Mx7W | Transformer | 2T1 | 4S1